## Test Equipments
# | Equipment Name | Mode | Manufacture | Part Number | Option/ License Details | Quote/ Piece | Qty Required | Available
1 | 200W Programmable DC Power Supply 25V/7A or 50V/4A | Rent | Keysight | E3634A | N9020A-B85 Analysis Bandwidth, 85 MHz , N9082A LTE TDD Measurement Application |  | 1 | Processed
2 | Digital multimeter, 6.5 digi |  | Keysight | 34401A | N7625B-TFP Advanced LTE-Advanced TDD R10 (Waveform Playback Option), N7624-B LTE-Advanced FDDR110(Wave form Play back option) |  | 1 | Processed
3 | Frequency/Time Interval Analyser |  | Keysight | 5371A | Peak and Average power capability |  | 1 | Processed
4 | 13GHz,4CH,40GSa/s,Infiniium Oscilloscope |  | Keysight | DSA91304A |  |  | 1 | Processed
5 | 12GHz InfiniiMax Probe Amplifier |  | Keysight | 1169A |  |  | 1 | Processed
6 | InfiniiMax II 12 GHz Differential SMA Probe Head |  | Keysight | N5380A |  |  | 1 | Processed
7 | Differential solder in probe head and accessories |  | Keysight | N5381A |  |  | 1 | Processed
8 | USB 3.1 10 Gbps compliance only software, fixed perpetual license |  | Keysight | U7243B-1FP |  |  | 1 | Processed
9 | PCIe Compliance Application for PCIe 1.0, 1.1, 2.0 and 3.0, fixed perpetual license |  | Keysight | N5393D-1FP |  |  | 1 | Processed
10 | Energy Efficient Ethernet Compliance Application, fixed perpetual license |  | Keysight | N5392B-1FP |  |  | 1 | Processed
11 | 4GHz,4+16 CH,10/20 GSa/s,Infiniium MSO |  | Keysight | MSO9404A | N5106A 2X2 MIMO Bundle |  | 1 | Processed
12 | Active Probe, 1 GHz single-ended |  | Keysight | N2795A |  |  | 1 | Processed
13 | EZJIT Jitter Analysis Software, fixed perpetual license |  | Keysight | E2681A-1FP |  |  | 1 | Processed
14 | DC Electronic load |  | Keysight | 6060B |  |  | 1 | Processed
15 | Network Performance Analyser |  | SmartBits | SMB600B |  |  | 1 | Processed
16 | 10/100/1000 Mbps and Gigabit Ethernet Fiber, 2-port, SmartMetrics XD module |  | SmartBits | LAN-3320A |  |  | 1 | Processed
17 | Solar Array Simulator 0-60Vdc,0-8A,480W |  | Keysight | E4350B |  |  | 1 | Processed
18 | Ethernet Compliance Testing software |  | Tektronix | DPOFL-ET3 |  |  | 1 | Under Process
19 | Arbitrary Waveform Generator |  | Tektronix | AWG70002A |  |  | 1 | Under Process
20 | GBE test fixture |  | Tektronix | TF-GBE-ATP |  |  | 1 | Under Process
21 | DDR3 Electrical compliance test App |  | Keysight | U7231C |  |  | 1 | Under Process
22 | InfiniiMax 12 GHz differential solder-in probe head |  | Keysight | N5381A |  |  | 3 | Under Process
23 | InfiniiMax 12-GHz ZIF probe head&tips |  | Keysight | N5425A+N5426A |  |  | 3 | Under Process
24 | 12GHz InfiniiMax Probe Amplifier |  | Keysight | 1169A |  |  | 3 | Under Process
25 | DDR3 Interposer Board | Buy | Future Plus (Keysight Partner) | FS2389 |  |  | 1 | Yet to receive formal quote
26 | LTPoE++ injector - 90W |  | Eten Networks | PS-201G++ |  |  | 5 | Ordered
27 | Lead Acid Battery |  | Yet to Identify - local vendor |  |  |  | 3